- Appendix A: Submission form

Transmission Pricing Methodology amendments 2026

Please email your submission to networkpricing@ea.govt.nz by 5pm, 24 July 2026.

| # | Question | Response |
| --- | --- | --- |
| Chapter 3: Context and approach |  |  |
| 1 | Do you agree with the assessment approach and criteria set out in this chapter? Please explain your reasons. |  |
| 2 | Do you consider an alternative approach or assessment criteria should be used? If so, please describe these and explain why these would be better. |  |
| Chapter 4: BBC simple method treatment of battery storage |  |  |
| 3 | Do you agree that offtake by battery storage should be exempt from the Demand Factor? Please explain your reasons. |  |
| 4 | Do you prefer any of the alternative options discussed for the treatment of battery storage under the simple method? Please explain your reasons. |  |
| 5 | Do you agree that the proposed amendment for battery storage offtake should be made ahead of Transpower’s next phase of its operational review, when it will review the simple method? Please explain your reasons. |  |
| 6 | Do you have any comment on the drafting of the amendment to the treatment of battery storage in Appendix C? |  |
| Chapter 6: Applying updated WACC without a lag |  |  |
| 13 | Do you agree with the Authority’s assessment of the consequences of the WACC lag? Please provide your reasons. |  |
| 14 | Do you agree that, because the efficiency impacts will likely grow over time, the Authority should address this WACC lag issue now? Please explain your reasons. |  |
| 15 | Do you have any comment on the drafting of the amendment to address the WACC lag in Appendix C? |  |
| Chapter 7: Batching BBC adjustment events |  |  |
| 16 | Do you agree with the proposal to allow Transpower to batch and process BBC adjustment events at a single annual date? Please provide your reasons. |  |
| 17 | Do you agree that the causing customer should be charged from the batching date, with any adjustments for other customers to be applied in the subsequent pricing year? Please state your reasons. |  |
| 18 | Do you consider it more efficient if, instead of the proposal mentioned in Q17, adjusted charges for both the causing customers and other customers should apply from the following pricing year? Please provide your reasons. |  |
| 19 | Do you have any comment on the drafting of the amendment to enable batching of BBC adjustment events in Appendix D? |  |
| Chapter 8: Removing SSI adjustment event |  |  |
| 20 | Do you agree with the proposal to remove the SSI adjustment event? Please provide your reasons. |  |
| 21 | Do you have any comments on the drafting of the amendment to remove the SSI adjustment event in Appendix D? |  |
| Chapter 9: Simple method period 1 extension |  |  |
| 22 | Do you agree with the proposal to extend the first simple method for up to two years (to end 31 March 2029 or 31 March 2030 if needed), so that Transpower can complete its operational review of its methods for benefit-based charging in a more timely manner? Please provide your reasons. |  |
| 23 | Has the Authority correctly identified the risk that a delay may involve efficiency costs as historical allocators risk being less than a reasonable proxy for net private benefits? Please provide your reasons. |  |
| 24 | Do you agree that, if Transpower cannot convince the Authority that the review can be completed within a timeframe that would allow simple method allocators to be updated for the 2030/31 pricing year at the latest, then Transpower should first update the simple method allocators as currently required? Please provide your reasons. |  |
| 25 | Do you have any comments on the drafting of the amendment to extend the first simple method period in Appendix D? |  |
| Chapter 10: Drafting refinements |  |  |
| 26 | The Authority is not consulting on technical and non-controversial drafting tidy-ups of the TPM, however, do you have any feedback on any potential re-drafting errors or additional suggestions? |  |
| Chapter 11: Fixing shard connection asset allocators |  |  |
| 27 | Has the Authority correctly identified a potential issue with the current approach to determining customers’ shares of cost at shared connection assets? |  |
| 28 | Do you agree with the Authority’s assessment that, while the immediate benefit of the proposal is likely marginal, it is nonetheless useful to address this issue to remove volatility in shares (and thus charges) and to protect against issues becoming bigger in future? |  |
| 29 | Do you have any initial feedback on the Authority’s current thinking to inform a possible amendment to the TPM (to be developed and consulted on in future) to: A: Fix cost shares at shared connection assets at those that applied in the 2026 pricing year? B: Fix the shares for a new customer at a shared connection asset based on Transpower’s estimate given the capacity and type of the customer’s plant, or some other approach? C: Not make any provision for those fixed shares to adjust even when there is a material and enduring change in the AMDIC of one of the customers sharing the connection asset? D: Add a clause to clarify that shares will be recalculated when a change in AMDIC by one or more customers at the shared connection asset necessitates an upgrade? |  |
| Chapter 12: Emerging connection charge and FMD issues |  |  |
| 30 | The Authority is not consulting on proposals to address these emerging issues, but do you have any feedback or further information on these emerging issues and how these are being progressed? |  |