## Readme
Overview
This spreadsheet sets out the calculations for the cost benefit analysis of real time pricing.
It should be read in conjunction with the appendix to the consultation paper, which describes the CBA and key assumptions.
The other tabs in the spreadsheet are:
Assumptions - this sets out the key inputs for the CBA and discusses the sources for assumptions. Note that three composite scenarios are considered (lower case, base case, upper case).
Timing calculations - this sets out the time profile of estimated benefits and costs - note that the user needs to select a scenario (lower, base, higher) using the lookup function.
Detailed results - this calculates results for the scenario selected in the 'timing calculations' tab. These are pasted as values in columns E-G (for the three different scenarios).
Results table - this sheet shows the results in the form published in the consultation paper. It uses the information in the 'Detailed results' tab.

## Assumptions
Global assumptions |  | Lower case | Base case | Higher case | Break Even | Comments
Midpoint or end of year discounting |  | End | End | End | End
Discount rate | % | 8% | 6% | 4% | 6% | Authority guidelines
Evaluation period | Years | 15 | 15 | 15 | 15 | Authority guidelines
Decision Year | Year | 2017 | 2017 | 2017 | 2017 | See Appendix to RTP paper
Time to implement | Years | 4 | 4 | 4 | 4 | Based on system operator assessment in ROM
Start Year | Year | 2021 | 2021 | 2021 | 2021
Peak demand level 2015 | MW | 6900 | 6900 | 6900 | 6900 | Historic data = grid + embedded peak in 2011
Residential peak demand 2015 | MW | 3740 | 3740 | 3740 | 3740 | 2.2 kW contribution at peak, x no of ICPs
Non-residential peak demand 2015 | MW | 3160 | 3160 | 3160 | 3160 | Residual of other 2 demand numbers
Existing & latent DR 2015 | MW | 400 | 400 | 400 | 400 | See Appendix to RTP paper
Existing & latent DG 2015 | MW | 50 | 50 | 50 | 50 | See Appendix to RTP paper
Peak demand growth | %/pa | 0% | 1.1% | 2.5% | 1.1% | Transpower, Transmission Planning Report 2015, central case is 1.1% p.a., other rates inferred from Figure 4-2
Residential peak demand growth | %/pa | 0% | 1.1% | 2.5% | 1.1% | Adopt same as average - but note that residential has historically been more peaky, though new technologies may alter this
Benefit a) - additional industrial response
Saving of capex in peaking plant
Extra proportion that will respond if RTP option is implemented |  | 8% | 10% | 12% | 1.955% | See Appendix to RTP paper, para E.20. The uncertainty re these assumptions is recognised - and for this reason there is also a 'break-even' sensitivity case (discussed later in the appendix)
Proportion of peaking generation required to substitute for deterred DR and DG |  | 95% | 100% | 105% | 100% | A one-to-one relationship for the base case
Cost of generation | $m/MW | 1.2 | 1.2 | 1.2 | 1.2 | WAG paper estimated at $1.5M/MW but adjusted for new information
Cost of increased DR operation
SRMC of peaker operation | $/MWh | 300 | 300 | 300 | 300
Industrial DR operation cost | $/MWh | 550 | 550 | 550 | 550 | WAG paper implicitly assumed variable cost for DR equivalent to variable cost of peaker - instead assume DR cost is greater by $250/MWh, i.e. DR around $550/MWh on average. This is consistent with other published estimates, such as operational review of transmission pricing methodology (see https://www.ea.govt.nz/development/work-programme/pricing-cost-allocation/transpower-tpm-operational-review)
Hours per year | Hr/yr | 90 | 90 | 90 | 90 | From observed peaking behaviour
Benefit b) - additional residential response
Years until benefits first accrue after implementation | Years | 4 | 2 | 0 | 2 | Residential response is expected to be slower than industrial response as incentives are lower on a party basis
Percentage of residential load that could respond to price |  | 9% | 12% | 15% | 0% | Compare with values found in: http://www.sciencedirect.com/science/article/pii/S0301421516306450
Reduction in residential peak load enabled by improved price information |  | 4% | 5% | 6% | 0% | See Appendix to RTP paper
Cost of increased DR operation
Residential DR operation cost | $/MWh | 800 | 800 | 800 | 800 | Assumption that additional residential DR has incremental cost that is 2 x that of effect 1
Hours per year | Hr/yr | 90 | 90 | 90 | 90 | From observed peaking behaviour
Benefit c) - additional efficiency
Difference between current and "RTP" level of efficient capacity | MW | 0 | 50 | 75 | 0 | See Appendix to RTP paper
Annual benefit of improving capacity relative to optimum | $m/yr | 0 | 1 | 2 | 0 | www.ea.govt.nz/dmsdocument/13936 | Approximate interpolation between $1m (50MW) and $5m (100MW) recognising that it is non-linear
Cost a) - system operator implementation costs
System Operator market system changes | $m | -11 | -8.86 | -7.55 | -8.86 | From TASC 60
Use of Ion meters | $m | -0.18 | -0.15 | -0.12 | -0.15 | From TASC 60 | Note that this is the cost to use ION meter data, not the cost to install ION meters
Within period bids and offers revision | $m | -0.05 | -0.0375 | -0.025 | -0.0375 | From TASC 60
Incurred how many years after decision to proceed | Years | 1 | 1 | 1 | 1 | Assumes costs incurred at start of the second year
Cost b) - costs and savings from changes to MSOP contract
Infrastructure | $m/yr | 0.009996 | 0.009996 | 0.009996 | 0.009996 | From current MSOP contract
System | $m/yr | 0.024 | 0.024 | 0.024 | 0.024 | From current MSOP contract
Services | $m/yr | 0.41562 | 0.41562 | 0.41562 | 0.41562 | From current MSOP contract
SPD savings | $m/yr | 0 | 0 | 0 | 0 | No change as party will change but operation will remain
Increase in ongoing MOSP costs | $m/yr | -0.2 | -0.15 | -0.1 | -0.15 | NZX estimate
Additional SO costs for performing some pricing manager duties | $m/yr | -0.05 | -0.05 | -0.05 | -0.05 | Estimate of 1/4 FTE
Termination cost for existing MSOP contract | $m | -0.16 | -0.16 | -0.16 | -0.16 | From current MSOP contract
Incurred how many years after decision to proceed | Years | 3 | 3 | 3 | 3 | Assumes costs incurred at start of the fourth year
Cost c) - clearing manager implementation costs
FTR manager implementation costs | $m | -0.28875 | -0.385 | -0.5775 | -0.385 | FTR manage estimate
WITS implementation costs | $m | -1 | -0.75 | -0.5 | -0.75 | NZX/WITS estimate
Clearing manager implementation costs | $m | -0.5 | -0.375 | -0.25 | -0.375 | NZX/WITS estimate
Incurred how many years after decision to proceed | Years | 1 | 1 | 1 | 1 | Assumes costs incurred at start of the second year
Cost d) - participant costs
Cost assumptions | $m | 0 | 0 | 0 | 0 | See Appendix to RTP paper
Incurred how many years after decision to proceed | Years | 1 | 1 | 1 | 1 | Assumes costs incurred at start of the second year
0
Note on F3: Grey cells indicate those that are changed from the base case. This scenario produces a net benefit of 0

## Timing calculations
Scenario Lookup
Select which case to consider in lookup function below
Break Even
Year |  | All costs/benefits | Additional info / Averages | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Discounting years |  |  | End |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19
Discount scalor | [5 empty] | 0.9434 | 0.89 | 0.83962 | 0.79209 | 0.74726 | 0.70496 | 0.66506 | 0.62741 | 0.5919 | 0.55839 | 0.52679 | 0.49697 | 0.46884 | 0.4423 | 0.41727 | 0.39365 | 0.37136 | 0.35034 | 0.33051
Timing flags
Project started? |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
Residential benefits accruing? |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
System operator cost? |  |  |  | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MSOP contract cost? |  |  |  | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Clearing manager cost? |  |  |  | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Participant cost? |  |  |  | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Peak demand level |  |  | 7963.4109 | 6900 | 6975.9 | 7052.6349 | 7130.2139 | 7208.6462 | 7287.9413 | 7368.1087 | 7449.1579 | 7531.0986 | 7613.9407 | 7697.6941 | 7782.3687 | 7867.9748 | 7954.5225 | 8042.0222 | 8130.4845 | 8219.9198 | 8310.3389 | 8401.7526 | 8494.1719 | 8587.6078
Residential peak demand |  |  | 4316.3995 | 3740 | 3781.14 | 3822.7325 | 3864.7826 | 3907.2952 | 3950.2755 | 3993.7285 | 4037.6595 | 4082.0738 | 4126.9766 | 4172.3733 | 4218.2694 | 4264.6704 | 4311.5817 | 4359.0091 | 4406.9582 | 4455.4348 | 4504.4446 | 4553.9935 | 4604.0874 | 4654.7324
Benefit a) - additional industrial response
Assumptions
Extra proportion that will respond if RTP option is implemented |  |  | 1.955%
Proportion of peaking generation required to substitute for deterred DR and DG |  |  | 100%
Existing & latent DR 2015 |  |  | 400
Existing & latent DG 2015 |  |  | 50
Cost of new peaking gen and associated network $m/MW | $m |  | 1.2
SRMC of peaker operation | $/MWh |  | 300
Industrial DR operation cost | $/MWh |  | 550
Hours per year |  |  | 90
Available DG and DR response |  |  | 519.3529 |  |  | 0 | 0 | 0 | 0 | 480.5288 | 485.8146 | 491.1586 | 496.5614 | 502.0235 | 507.5458 | 513.1288 | 518.7732 | 524.4797 | 530.249 | 536.0817 | 541.9786 | 547.9404 | 553.9677 | 560.0614
Total reduced peaking generation required due to RTP |  |  | 10.1533 |  |  | 0 | 0 | 0 | 0 | 9.3943 | 9.4977 | 9.6022 | 9.7078 | 9.8146 | 9.9225 | 10.0317 | 10.142 | 10.2536 | 10.3664 | 10.4804 | 10.5957 | 10.7122 | 10.8301 | 10.9492
Incremental | [5 empty] | 0 | 0 | 0 | 0 | 9.3943 | 0.10334 | 0.10447 | 0.10562 | 0.10679 | 0.10796 | 0.10915 | 0.11035 | 0.11156 | 0.11279 | 0.11403 | 0.11528 | 0.11655 | 0.11783 | 0.11913
Capacity reduction is worth ($m) |  | 9.3402 |  |  |  | 0 | 0 | 0 | 0 | 11.2732 | 0.12401 | 0.12537 | 0.12675 | 0.12814 | 0.12955 | 0.13098 | 0.13242 | 0.13387 | 0.13535 | 0.13684 | 0.13834 | 0.13986 | 0.1414 | 0.14296
Reduction in fuel costs | [5 empty] | 0 | 0 | 0 | 0 | 0.25365 | 0.25644 | 0.25926 | 0.26211 | 0.26499 | 0.26791 | 0.27086 | 0.27383 | 0.27685 | 0.27989 | 0.28297 | 0.28608 | 0.28923 | 0.29241 | 0.29563
Increase in DR costs | [5 empty] | 0 | 0 | 0 | 0 | -0.46502 | -0.47013 | -0.47531 | -0.48053 | -0.48582 | -0.49116 | -0.49657 | -0.50203 | -0.50755 | -0.51314 | -0.51878 | -0.52449 | -0.53026 | -0.53609 | -0.54199
SRMC cost effect |  | -1.7369 | -0.22845 |  |  | 0 | 0 | 0 | 0 | -0.21137 | -0.2137 | -0.21605 | -0.21842 | -0.22083 | -0.22326 | -0.22571 | -0.2282 | -0.23071 | -0.23324 | -0.23581 | -0.2384 | -0.24103 | -0.24368 | -0.24636
Net |  |  | 7.6033 |  |  | 0 | 0 | 0 | 0 | 11.0618 | -0.089692 | -0.090679 | -0.091677 | -0.092685 | -0.093705 | -0.094735 | -0.095777 | -0.096831 | -0.097896 | -0.098973 | -0.10006 | -0.10116 | -0.10228 | -0.1034
Benefit b) - additional residential response
Assumptions
Percentage of residential load that could respond to Price |  |  | 0%
Reduction in residential peak load enabled by improved price information |  |  | 0%
Proportion of peaking generation required to substitute for deterred DR and DG |  |  | 100%
Residential DR operation cost | $/MWh |  | 800
Increased amount from RTP |  |  | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Incremental reduction | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Capacity reduction is worth ($m) |  | 0 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Reduction in fuel costs | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Increase in DR costs | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SRMC cost effect |  | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Net |  |  | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Benefit c) - additional efficiency
Assumptions
Deviation from optimal | MW |  | 0
Loss per year | $m |  | 0
Loss per year from having excess or insufficient capacity relative to optimum |  | 0 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cost a) - system operator implementation costs
Assumptions
System Operator market system changes | $m |  | -8.86
Use of Ion meters | $m |  | -0.15
Within period bids and offers revision | $m |  | -0.0375
Total of all SO costs |  | -8.0522 |  |  |  | 0 | -9.0475 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cost b) - costs and savings from changes to MSOP contract
Assumptions
End of MSOP contract - Infrastructure | $m/yr |  | 0.009996
End of MSOP contract - Systems | $m/yr |  | 0.024
End of MSOP contract - Services | $m/yr |  | 0.41562
End of MSOP contract - SPD | $m/yr |  | 0
Increase in ongoing MOSP costs | $m/yr |  | -0.15
Additional SO costs for performing some pricing manager duties | $m/yr |  | -0.05
Termination cost for existing MSOP contract | $m |  | -0.16
Termination cost |  | -0.12673 |  |  |  | 0 | 0 | 0 | -0.16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Changes to ongoing MSOP costs |  | 1.9203 |  |  |  | 0 | 0 | 0 | 0 | 0.24962 | 0.24962 | 0.24962 | 0.24962 | 0.24962 | 0.24962 | 0.24962 | 0.24962 | 0.24962 | 0.24962 | 0.24962 | 0.24962 | 0.24962 | 0.24962 | 0.24962
Total |  |  | 1.7936 |  |  | 0 | 0 | 0 | -0.16 | 0.24962 | 0.24962 | 0.24962 | 0.24962 | 0.24962 | 0.24962 | 0.24962 | 0.24962 | 0.24962 | 0.24962 | 0.24962 | 0.24962 | 0.24962 | 0.24962 | 0.24962
Cost c) - clearing manager implementation costs
Assumptions
FTR manager implementation costs |  |  | -0.385
WITS implementation costs |  |  | -0.75
Clearing manager implementation costs |  |  | -0.375
Total of all costs |  | -1.3439 |  |  |  | 0 | -1.51 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cost d) - participant costs
Assumptions
Participant costs |  |  | 0
Total of all costs |  | 0 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Net Benefit |  | 0.00076949
Note on F18: This is the base value, that subsequent cells are escalated from. Different formula
Note on F19: This is the base value, that subsequent cells are escalated from. Different formula
Note on H7: Note this cell has a different formula from those next to it
Note on H32: Zero until the program starts, otherwise the amount of DR and DG response, scaled up with peak demand growth
Note on H34: Only the incremental reduction counts.
Note on H48: zero until the program is implemented, otherwise a proportion of residential demand

## Detailed Results
The 'heavy lifting' calculations are done on the timing calculations sheet.
This sheet summarizes results from that sheet and does some simple calculations
It also extracts some 'implied assumptions' that may be reported, but which do not affect results |  |  | These cells are copy and pasted from the left - they do not update automatically
RTP based on dispatch prices |  | From timing calcs Tab |  | Benefit = positive
| Units | Break Even | Lower | Base case | Higher | Break Even | Notes
Benefit a) - additional industrial response
Modelled as capex saving from reduction in peaking plant, minus incremental cost of additional DR operation
Avoided capital cost of inefficient peaking generation | $m | 9.3402 | 27.9311 | 47.7761 | 84.748 | 9.3402
Increase in SRMC (incremental cost of DR vs peaker SRMC savings) | $m | -1.7369 | -4.8413 | -8.8843 | -16.5091 | -1.7369
Present value of demand response benefits and costs | $m | 7.6033 | 23.0898 | 38.8918 | 68.2389 | 7.6033
Implied assumptions
Load that could respond to spot prices | MW | 519.3529 | 450 | 519.3529 | 623.8661 | 519.3529 | WAG paper estimated up to 400MW available based on larger users on distribution networks. Took average after growing peak over evaluation period
Reduced peaking gen required as a result of increased DR/DG operation | MW | 10.1533 | 34.2 | 51.9353 | 78.6071 | 10.1533
Load that could respond as % of peak demand |  | 6.522% | 6.522% | 6.522% | 6.522% | 6.522%
Load that is assumed to respond as % of peak demand |  | 0.1275% | 0.4957% | 0.6522% | 0.8217% | 0.1275% | http://www.synapse-energy.com/sites/default/files/SynapseReport.2013-03.RAP_.US-Demand-Response.12-080.pdf Lots of good diagrams/resources in here from US markets. Figure ES4 suggests slightly more than 1% (2007). Figure 5 shows 2003 numbers, and they're 1-6% for different regions. Table 1 has values from 2-10% (2009-10). FIgure 6 shows growth in response as market develops - seems most relevant
Load that is assumed to respond as % of non-residential peak demand |  | 0.2784% | 1.082% | 1.424% | 1.794% | 0.2784%
Average capacity factor of DR operation |  | 1.027% | 1.027% | 1.027% | 1.027% | 1.027%
Average cost per year of DR operation | $m/yr | -0.22845 | -0.7695 | -1.1685 | -1.7687 | -0.22845
Benefit b) - additional residential response
Modelled as capex saving from reduction in peaking plant, minus incremental cost of additional DR operation
Avoided capital cost of inefficient peaking generation | $m | 0 | 7.6783 | 21.448 | 52.8262 | 0
Increase in SRMC (incremental cost of DR vs peaker SRMC savings) | $m | 0 | -2.22 | -7.2863 | -20.5813 | 0
Present value of additional residential response benefits and costs | $m | 0 | 5.4583 | 14.1617 | 32.245 | 0
Implied assumptions
Potential residential load responding to Price | MW | 0 | 336.6 | 517.9679 | 777.7531 | 0
Reduction in peaking generation requirement | MW | 0 | 9.3799 | 22.6858 | 48.9984 | 0
Which is x% of total residential demand |  | 0% | 0.2508% | 0.5256% | 0.945% | 0%
Average capacity factor of DR operation |  | 1.027% | 1.027% | 1.027% | 1.027% | 1.027%
Average cost per year of DR operation | $m/yr | 0 | -0.4221 | -1.0209 | -2.2049 | 0
Benefit c) - additional efficiency
Modelled as impact of system being above or below efficient capacity level | $m | 0 | 0 | 7.693 | 19.0081 | 0
Implied assumptions
Difference as % of peak demand | % | 0% | 0% | 0.6279% | 0.784% | 0%
Implementation Costs
Cost a) - system operator implementation costs
Total (negative is a cost) | $m | -8.0522 | -9.6279 | -8.0522 | -7.1145 | -8.0522
Cost b) - costs and savings from changes to MSOP contract
Total (negative is a cost) | $m | 1.7936 | 1.1383 | 1.7936 | 2.7108 | 1.7936
Cost c) - clearing manager implementation costs
Total (negative is a cost) | $m | -1.3439 | -1.5336 | -1.3439 | -1.2273 | -1.3439
Cost d) - participant costs
Total (negative is a cost) | $m | 0 | 0 | 0 | 0 | 0
Note on A13: Note that this isn't discounted, because the timing calculations tab handles discounting

## Results Table
Item $m (present value) | Lower case | Base case | Higher case
Benefits from DR operation and reliability
Industrial and commercial response benefit | 27.9311 | 47.7761 | 84.748
Residential response benefit | 7.6783 | 21.448 | 52.8262
Reliability benefit | 0 | 7.693 | 19.0081
Benefits | 35.6094 | 76.9171 | 156.5823
Demand response costs
Industrial response operational incremental cost | -4.8413 | -8.8843 | -16.5091
Residential response operational incremental cost | -2.22 | -7.2863 | -20.5813
Total demand response costs | -7.0613 | -16.1706 | -37.0903
Implementation and administration costs
System operation function | -9.6279 | -8.0522 | -7.1145
Pricing manager function (net saving) | -0.39529 | 0.44967 | 1.4834
Participant costs | 0 | 0 | 0
Costs | -10.0232 | -7.6026 | -5.631
Net benefits/(costs) | 18.5249 | 53.144 | 113.8609
BCR | 2.0843 | 3.2355 | 3.6652
* Excludes some benefits that have not be quantified