## RCPD - UNI and USI
Economic costs and benefits of response to RPCD signals in the UNI and USI
Average regional coincident peak demand (MW) | 4000
Frequency of load reduction (trading periods per year) | 20 | 20 | 50 | 50
Cost of load reduction ($/MWh) | 150 | 150 | 1000 | 1000
Reduction in UNI and USI coincident peaks (%) | 1.5% | 5% | 1.5% | 5%
Cost ($M per year) | 0.09 | 0.3 | 1.5 | 5
Cost ($M PV over 20 years) | 0.954 | 3.18 | 15.9 | 53
Deferral benefit (discounted $M per year of deferral) | 5 | 5 | 5 | 5
Years of deferral achieved | 1 | 3 | 1 | 3
Deferral benefit ($M PV) | 5 | 15 | 5 | 15
Net benefit ($M PV) | 4.046 | 11.82 | -10.9 | -38
As rounded in paper | 4 | 12 | -11 | -38
Best case net benefit ($M PV) | 12
Worst case net benefit ($M PV) | -38

## RCPD - LNI and LSI
Economic costs and benefits of response to RPCD signals in the LNI and LSI
Average regional coincident peak demand (MW) | 2000
Frequency of load reduction (trading periods per year) | 50 | 50 | 200 | 200
Cost of load reduction ($/MWh) | 150 | 150 | 1000 | 1000
Reduction in LNI and LSI coincident peaks (%) | 1% | 2.5% | 1% | 2.5%
Cost ($M per year) | 0.075 | 0.1875 | 2 | 5
Cost ($M PV over 20 years) | 0.795 | 1.9875 | 21.2 | 53
As rounded in paper | 1 | 2 | 21 | 53
Best case cost ($M PV) | 1
Worst case cost ($M PV) | 58

## Tiwai in summer
Economics of NZAS increasing its summer production
Possible summer electricity consumption (MW) | 620
Baseline non-summer electricity consumption (MW) | 570
Length of 'summer' (hours) | 2920
RCPD charging rate ($/kW) | 120
Increase in NZAS's interconnection charge ($M/year) | 6
Assumed cost of electricity to NZAS in summer ($/MWh) | 50
Assumed value of energy to NZAS ($/MWh) | 60 | 70 | 80
Net benefit to NZAS of increasing summer production ($M per year)
(setting aside transmission charges) | 1.46 | 2.92 | 4.38 | (In all cases, less than the increase in interconnection charge)
Lower bound on productive inefficiency
Assumed value of energy to NZAS ($/MWh) | 60
Number of summers in which NZAS would not increase consumption
as a result of the RCPD charge | 3
Productive inefficiency ($M PV) | 4.0588
Upper bound on productive inefficiency
Assumed value of energy to NZAS ($/MWh) | 80
Number of summers in which NZAS would not increase consumption
as a result of the RCPD charge | 10
Productive inefficiency ($M PV) | 31.755

## TPAG estimate validation
Validation of TPAG's estimate of the inefficiency caused by discouraging SI grid-connected generation
Assumed amount of generation constructed in each year from 2016 (GWh) | 600
Assumed effective HVDC charge on SI grid-connected generation ($/MWh) | 10 | (Effective charge varies between generators, and also depends on LCE rebates)
Assumed average cost difference between "marginal options" in NI and best SI alternatives ($/MWh) | 5 | (From working paper: "Suppose that there are some NI generation options ('marginal options') that are on average $5/MWh less cost-effective than the best available SI alternatives, and will proceed only if there is an HVDC charge")
Assumed % of new generation drawn from "marginal options" as result of HVDC charge | 8% | 12% | 17%
Amount of marginal generation, by year (GWh)
2016 | 48 | 72 | 102
2017 | 96 | 144 | 204
2018 | 144 | 216 | 306
2019 | 192 | 288 | 408
2020 | 240 | 360 | 510
2021 | 288 | 432 | 612
2022 | 336 | 504 | 714
2023 | 384 | 576 | 816
2024 | 432 | 648 | 918
2025 | 480 | 720 | 1020
2026 | 528 | 792 | 1122
2027 | 576 | 864 | 1224
2028 | 624 | 936 | 1326
2029 | 672 | 1008 | 1428
2030 | 720 | 1080 | 1530
2031 | 768 | 1152 | 1632
2032 | 816 | 1224 | 1734
2033 | 864 | 1296 | 1836
2034 | 912 | 1368 | 1938
2035 | 960 | 1440 | 2040
Efficiency loss, by year ($M) |  |  |  | Discount factor
2016 | 0.24 | 0.36 | 0.51 | 0.85734
2017 | 0.48 | 0.72 | 1.02 | 0.79383
2018 | 0.72 | 1.08 | 1.53 | 0.73503
2019 | 0.96 | 1.44 | 2.04 | 0.68058
2020 | 1.2 | 1.8 | 2.55 | 0.63017
2021 | 1.44 | 2.16 | 3.06 | 0.58349
2022 | 1.68 | 2.52 | 3.57 | 0.54027
2023 | 1.92 | 2.88 | 4.08 | 0.50025
2024 | 2.16 | 3.24 | 4.59 | 0.46319
2025 | 2.4 | 3.6 | 5.1 | 0.42888
2026 | 2.64 | 3.96 | 5.61 | 0.39711
2027 | 2.88 | 4.32 | 6.12 | 0.3677
2028 | 3.12 | 4.68 | 6.63 | 0.34046
2029 | 3.36 | 5.04 | 7.14 | 0.31524
2030 | 3.6 | 5.4 | 7.65 | 0.29189
2031 | 3.84 | 5.76 | 8.16 | 0.27027
2032 | 4.08 | 6.12 | 8.67 | 0.25025
2033 | 4.32 | 6.48 | 9.18 | 0.23171
Total efficiency loss over 20 years ($M PV) | 15.6032 | 23.4048 | 33.1568
Rounded figure in paper ($M PV) | 15 | 24 | 33

## Vector Aurora RCPD charges
| Year in which RCPD was measured: | 2008/09 | 2009/10 | 2010/11 | 2011/12 | 2012/13
Mean demand over regional coincident peaks (MW) | Aurora | 191.3443 | 176.102 | 173.2229 | 142.0354 | 167.0392
| Vector | 1574.809 | 1528.3988 | 1652.3797 | 1504.8685 | 1532.8398
| Calendar year: | 2009 | 2010 | 2011 | 2012 | 2013
Total demand, net at GXP (GWh) | Aurora | 1161.504 | 1118.558 | 1072.027 | 1071.973 | 1038.725
| Vector | 8547.6027 | 8548.0884 | 8654.1116 | 8623.2419 | 8479.8962
| Year in which interconnection charge is paid: | 2010/11 | 2011/12 | 2012/13 | 2013/14 | 2014/15
| RCPD charging rate ($/kW) | 69.12 | 76.14 | 90.66 | 99.44 | 114.47
Interconnection charge, in fully variabilised terms ($/MWh) | Aurora | 11.3867 | 11.9872 | 14.6493 | 13.1757 | 18.4081
| Vector | 12.7347 | 13.6138 | 17.3102 | 17.3536 | 20.6918
Note on A2: Author: Supplied by Transpower
Note on A6: Author: Based on data from the Authority's Centralised Dataset and EMI systems

## Consumption reduction - DWL
Deadweight loss ($M per year) under various scenarios
Case | Base case |  |  |  | Sensitivity 1 |  |  |  | Sensitivity 2
Scenario | A | B | C | D | A | B | C | D | A | B | C | D
Annual consumption of mass-market customers (GWh) | 30000 | 30000 | 30000 | 30000 | 30000 | 30000 | 30000 | 30000 | 30000 | 30000 | 30000 | 30000
Marginal price paid by mass-market customers ($/MWh) | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200
Interconnection component of price ($/MWh) | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20
Assumed elasticity of mass-market customers | -0.26 | -0.26 | -0.26 | -0.26 | -0.13 | -0.13 | -0.13 | -0.13 | -0.39 | -0.39 | -0.39 | -0.39
Annual consumption of inelastic industrials (GWh) | 300 | 1000 | 300 | 300 | 300 | 1000 | 300 | 300 | 300 | 1000 | 300 | 300
Assumed elasticity of inelastic industrials | -0.086667 | -0.086667 | -0.086667 | -0.086667 | -0.043333 | -0.043333 | -0.043333 | -0.043333 | -0.13 | -0.13 | -0.13 | -0.13
Annual consumption of elastic industrials (GWh) | 300 | 300 | 1000 | 5000 | 300 | 300 | 1000 | 5000 | 300 | 300 | 1000 | 5000
Assumed elasticity of elastic industrials | -0.78 | -0.78 | -0.78 | -0.78 | -0.78 | -0.78 | -0.78 | -0.78 | -0.78 | -0.78 | -0.78 | -0.78
Annual consumption of other industrials (GWh) | 5400 | 4700 | 4700 | 700 | 5400 | 4700 | 4700 | 700 | 5400 | 4700 | 4700 | 700
Assumed elasticity of other industrials | -0.26 | -0.26 | -0.26 | -0.26 | -0.13 | -0.13 | -0.13 | -0.13 | -0.39 | -0.39 | -0.39 | -0.39
Marginal price paid by industrial customers ($/MWh) | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85
Interconnection component of price ($/MWh) | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15
Deadweight loss ($M per year) - mass-market | 8.6667 | 8.6667 | 8.6667 | 8.6667 | 4.3333 | 4.3333 | 4.3333 | 4.3333 | 13 | 13 | 13 | 13
- inelastic industrials | 0.041786 | 0.13929 | 0.041786 | 0.041786 | 0.020893 | 0.069643 | 0.020893 | 0.020893 | 0.062679 | 0.20893 | 0.062679 | 0.062679
- elastic industrials | 0.37607 | 0.37607 | 1.2536 | 6.2679 | 0.37607 | 0.37607 | 1.2536 | 6.2679 | 0.37607 | 0.37607 | 1.2536 | 6.2679
- other industrials | 2.2564 | 1.9639 | 1.9639 | 0.2925 | 1.1282 | 0.98196 | 0.98196 | 0.14625 | 3.3846 | 2.9459 | 2.9459 | 0.43875
Total deadweight loss ($M per year) | 11.341 | 11.146 | 11.926 | 15.2688 | 5.8585 | 5.761 | 6.5898 | 10.7683 | 16.8234 | 16.5309 | 17.2621 | 19.7693
Note on A9: Author: Referred to as 'X' in the paper
Note on A11: Author: Referred to as 'Y' in the paper

## DWL with Ramsey pricing
Reduction in deadweight loss ($M per year) that could be achieved under the same scenarios
Case | Base case |  |  |  | Sensitivity 1 |  |  |  | Sensitivity 2
Scenario | A | B | C | D | A | B | C | D | A | B | C | D
Working 1 | 3.8462 | 3.8462 | 3.8462 | 3.8462 | 7.6923 | 7.6923 | 7.6923 | 7.6923 | 2.5641 | 2.5641 | 2.5641 | 2.5641
Working 2 | 4.4872 | 4.4872 | 4.4872 | 4.4872 | 8.9744 | 8.9744 | 8.9744 | 8.9744 | 2.9915 | 2.9915 | 2.9915 | 2.9915
Working 3 | 0.49858 | 0.49858 | 0.49858 | 0.49858 | 0.49858 | 0.49858 | 0.49858 | 0.49858 | 0.49858 | 0.49858 | 0.49858 | 0.49858
Working 4 | 0.19192 | 0.19374 | 0.18923 | 0.17546 | 0.3836 | 0.38724 | 0.37766 | 0.34725 | 0.12803 | 0.12924 | 0.12642 | 0.11819
Annual consumption of mass-market customers (GWh) | 30000 | 30000 | 30000 | 30000 | 30000 | 30000 | 30000 | 30000 | 30000 | 30000 | 30000 | 30000
Marginal price paid by mass-market customers ($/MWh) | 200.0402 | 199.8522 | 200.3251 | 201.9207 | 200.0531 | 199.8646 | 200.3684 | 202.1523 | 200.0274 | 199.8399 | 200.2819 | 201.6939
Interconnection component of price ($/MWh) | 20.0402 | 19.8522 | 20.3251 | 21.9207 | 20.0531 | 19.8646 | 20.3684 | 22.1523 | 20.0274 | 19.8399 | 20.2819 | 21.6939
Assumed elasticity of mass-market customers | -0.26 | -0.26 | -0.26 | -0.26 | -0.13 | -0.13 | -0.13 | -0.13 | -0.39 | -0.39 | -0.39 | -0.39
Annual consumption of inelastic industrials (GWh) | 300 | 1000 | 300 | 300 | 300 | 1000 | 300 | 300 | 300 | 1000 | 300 | 300
Assumed elasticity of inelastic industrials | -0.086667 | -0.086667 | -0.086667 | -0.086667 | -0.043333 | -0.043333 | -0.043333 | -0.043333 | -0.13 | -0.13 | -0.13 | -0.13
Annual consumption of elastic industrials (GWh) | 300 | 300 | 1000 | 5000 | 300 | 300 | 1000 | 5000 | 300 | 300 | 1000 | 5000
Assumed elasticity of elastic industrials | -0.78 | -0.78 | -0.78 | -0.78 | -0.78 | -0.78 | -0.78 | -0.78 | -0.78 | -0.78 | -0.78 | -0.78
Annual consumption of other industrials (GWh) | 5400 | 4700 | 4700 | 700 | 5400 | 4700 | 4700 | 700 | 5400 | 4700 | 4700 | 700
Assumed elasticity of other industrials | -0.26 | -0.26 | -0.26 | -0.26 | -0.13 | -0.13 | -0.13 | -0.13 | -0.39 | -0.39 | -0.39 | -0.39
Marginal price paid by industrials, excl interconnection ($/MWh) | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70
Interconnection price paid by industrials ($/MWh) - inelastic | 23.3803 | 23.1609 | 23.7126 | 25.5741 | 23.3952 | 23.1754 | 23.7631 | 25.8443 | 23.3653 | 23.1465 | 23.6622 | 25.3095
- elastic | 2.5978 | 2.5734 | 2.6347 | 2.8416 | 1.2997 | 1.2875 | 1.3202 | 1.4358 | 3.8942 | 3.8578 | 3.9437 | 4.2183
- other | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15
Deadweight loss ($M per year) - mass-market | 8.7016 | 8.5391 | 8.9507 | 10.4112 | 4.3564 | 4.2749 | 4.4944 | 5.3162 | 13.0357 | 12.7927 | 13.3691 | 15.2953
- inelastic industrials | 0.10152 | 0.33208 | 0.10442 | 0.12146 | 0.050824 | 0.16624 | 0.052435 | 0.062022 | 0.15208 | 0.49749 | 0.15597 | 0.17844
- elastic industrials | 0.01128 | 0.011069 | 0.038676 | 0.22493 | 0.0028236 | 0.0027707 | 0.0097102 | 0.057428 | 0.025347 | 0.024875 | 0.086651 | 0.49568
- other industrials | 2.2564 | 1.9639 | 1.9639 | 0.2925 | 1.1282 | 0.98196 | 0.98196 | 0.14625 | 3.3846 | 2.9459 | 2.9459 | 0.43875
Total deadweight loss ($M per year) | 11.0708 | 10.8461 | 11.0577 | 11.0501 | 5.5382 | 5.4258 | 5.5385 | 5.5819 | 16.5977 | 16.2609 | 16.5576 | 16.4081
Difference from previous sheet ($M per year) | 0.27017 | 0.2998 | 0.86826 | 4.2187 | 0.3203 | 0.33517 | 1.0512 | 5.1865 | 0.22567 | 0.26997 | 0.70455 | 3.3611
Note on A12: Author: A Ramsey price
Note on A21: Author: A Ramsey price
Note on A22: Author: A Ramsey price