Omnibus of common quality Code amendment proposals

## Appendix A Format for submissions

| Submitter |  |
| --- | --- |

| Proposal | Questions | Comments |
| --- | --- | --- |
| FSR 101 Align over-frequency limits between the Code and the Policy Statement | Q1. Do you agree the proposed Code amendment will achieve the objective? If you disagree, please explain why and give alternative options to achieve the objective. |  |
|  | Q.2 Do you agree with the analysis presented in this Regulatory Statement? If not, please state why you do not agree. |  |
| FSR 102 Clarify requirements for voltage control systems and connection transformers | Q3. Do you agree the proposed Code amendment will achieve the objective? If you disagree, please explain why and give alternative options to achieve the objective. |  |
|  | Q4. Do you agree with the analysis presented in this Regulatory Statement? If not, please state why you do not agree. |  |
| FSR 103 Amend the ‘fast instantaneous reserve’ and ‘sustained instantaneous reserve’ definitions | Q5. Do you agree the proposed Code amendment will achieve the objective? If you disagree, please explain why and give alternative options to achieve the objective. |  |
|  | Q6. Do you agree with the analysis presented in this Regulatory Statement? If not, please state why you do not agree. |  |
| FSR 104 Revise two fault ride through exclusions | Q7. Do you agree the proposed Code amendment will achieve the objective? If you disagree, please explain why and give alternative options to achieve the objective. |  |
|  | Q8. Do you agree with the analysis presented in this Regulatory Statement? If not, please state why you do not agree. |  |
| FSR 105 Clarify who provides information to assess compliance with fault ride through obligations | Q9. Do you agree the proposed Code amendment will achieve the objective? If you disagree, please explain why and give alternative options to achieve the objective. |  |
|  | Q10. Do you agree with the analysis in this Regulatory Statement? If not, please state why you do not agree. |  |
| FSR 106 Clarify obligations related to frequency management and frequency support | Q11. Do you agree the proposed Code amendment will achieve the objective? If you disagree, please explain why and give alternative options to achieve the objective. |  |
|  | Q12. Do you agree with the analysis presented in this Regulatory Statement? If not, please state why you do not agree. |  |